**NDUSTRIA™ Gas-Fired High-Intensity Infrared Heaters**

**GG-Series**

**Easy Buying and Online Ordering Guide**

**www.ndustria.com**

Before you begin please note that o***ur infrared heaters should be* installed *by a* contractor qualified in the installation and service of gas-fired heating equipment or your gas supplier*; they require a gas line and appropriate, safe electrical service.* However, whether you are an end user or a contractor, we hope this 6-step guide will make ordering easier by helping you gather key data in a simple worksheet, which you’ll find below.**

**Once you’ve collected this information referenced in this buying guide, we realize that you may have additional questions about your specific space. We’re here to help! Our experts are standing by M-F 8:15 am – 4:45 pm EST for an online chat, which you can access from our website. Or, you can call 716-551-7900, or email** [**info@ndustria.com**](mailto:info@ndustria.com) **to get answers to your questions or other assistance in determining the best product to order.**

The GG-series infrared heaters are intended for indoor spot heating in commercial/industrial applications, not for residential use or to be installed outdoors where the heater will be exposed to the outdoor elements. The heaters can be suspended from the ceiling using chain.

**Step 1:  What kind of fuel will you use?**

**Our heaters can use either natural gas(NG) or liquid propane(LP).** Only select rates are available in in LP gas. See specification sheet or installation and operation manual.

**Step 2: What measurements are needed to determine how much heat or BTUs you need?**

**There are three key measurements you will want to collect**

**1 Overhead structure/recommended mounting height.** It’s important to follow our guidelines see specific guidelines chart at bottom of this page.

Let’s begin with the height measurement by measuring the distance between the floor and the ceiling.

**2 Total length and width of the area you wish to heat.**

**3 Survey your space to determine: Are there any clearances issues for structures, features, or objects that would interfere above, below, or to the sides of the unit?**  You will see minimum clearances recommendations in the installation and operation manual.

**Step 3: You’ve measured. Now, let’s talk about heat coverage.**

**Basic coverage calculation.**  The measure of the heat output you’ll get from your system is BTUs. To determine the area of heat coverage, multiply the heat output factor by the mounting height. (e.g. to determine side to side heat coverage of GG-80 installed at 18’ above the floor: 2.0 x 18’ = 41.4’).

Shape

Description automatically generated with low confidenceA picture containing logo

Description automatically generated

(replace these images with the “Floor level coverage” drawing.

**Heater Spacing**

For applications that require multiple heaters, understanding how far apart to space the heaters is simple. Follow these general guidelines:

For applications located in mild climates (40°F – 60°F) it is ideal to space the heaters apart the same distance as the mounting height. E.g. if the mounting height is 14’, the heaters should be spaced approximately 14’ apart.

For applications in colder climates (less than 40°F) it is recommended to space the heaters apart half of the mounting distance or less. E.g. if mounting height is 14’, heaters should be spaced approximately 7’ apart or less.

**Step 4: You have two options for how you mount the heater**

**The heater can be mounted level or tilted up to a 35-degree angle.**

When installed in a **level** orientation, the radiant heat will deflect straight down. 35° tilt will deflect the heat downward but also toward the middle of the space.

For example, if you install the heaters away from a wall and you are able to install the heater directly over the targeted area, it is recommended to install the heater level.

If the heater is installed on a wall, or to the side of a dock door, you likely would want the heater tilted at a 35° angle concentrating the radiant heat towards the targeted heating area.

**A picture containing shape

Description automatically generatedShape

Description automatically generated with low confidence**

35° Tilt Level

(replace these images with high intensity and replace the people and tables with either boxes or a work area)

**General tips and recommendations:**

**There are three elements that warrant consideration and possibly a conversation with your installer before you order if you have any concerns.**

* **You’ll want to identify available heater mounting points and access to gas and electric supplies.**
* **Make sure your installer follows and plans for our recommended clearances distances above, below, and to the sides of the heater.**
* **Ensure that your installer observes ventilation guidelines in enclosed spaces, if required. See installation, operation and service manual for guidance.**

\_\_\_\_

**Worksheet**

|  |  |  |
| --- | --- | --- |
|  |  |  |
| **Natural Gas or Propane?** |  |  |
| **Overhead/mounting height**  (Note: maintain appropriate clearances to combustibles as specified in the installation and operation manual) |  |  |
| **Heated space (length X width)** |  |  |
| **Any clearances issues?** |  |  |
| **How many units/unit size?** |  |  |
|  |  |  |

Sample worksheet, filled out, ready to use for ordering:

|  |  |  |
| --- | --- | --- |
|  |  |  |
| **Natural Gas or Propane?** | NG |  |
| **Overhead/mounting height**  (Note: maintain appropriate clearances to combustibles as specified in the installation and operation manual) | **18’ from floor to ceiling** |  |
| **Heated space (length X width)** | **36’ X 42’ serving** |  |
| **Any clearances issues?** | **No** |  |
| **How many units/unite size?** | GG-80 |  |
|  |  |  |

**GG-Series guidelines chart with additional specifications**



Some tips on using this chart:

Once you have the dimensions of your space, first look at the mounting height that is recommended. As mentioned above, to determine the area of heat coverage, simply multiply the heater mounting height by the heat coverage factor from side to side and front to back. Now, you have an idea of the BTUs you will need for that space.